Dry Pond or Dry Extended Detention Basin Inspection and Maintenance Checklist

| Facility: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Location/Address: |  |  |  |  |
| Date: | Time: | Weather Conditions: |  | Date of Last Inspection: |
| Inspector: |  |  | Title: |  |
| Rain in Last 48 Hours □ Yes □ No If yes, list amount and timing: |  |  |  |  |
| Pretreatment: □ vegetated filter strip □ swale □ forebay □ other, specify: |  |  |  |  |
| Site Plan or As-Built Plan Available: □ Yes □ No |  |  |  |  |

| Inspection Item |  | Comment | Action Needed |
| --- | --- | --- | --- |
| 1. PRETREATMENT |  |  |  |
| Sediment has accumulated. | □Yes □No □N/A |  | □Yes □No |
| Trash and debris have accumulated. | □Yes □No □N/A |  | □Yes □No |
| 2. DEWATERING |  |  |  |
| The water quality orifice is visible. | □Yes □No □N/A |  | □Yes □No |
| 3. INLETS |  |  |  |
| Inlets are in poor structural condition. | □Yes □No □N/A |  | □Yes □No |
| Sediment has accumulated and/or is blocking the inlets. | □Yes □No □N/A |  | □Yes □No |
| Erosion is occurring around the inlets. | □Yes □No □N/A |  | □Yes □No |
| 3. EMBANKMENT |  |  |  |
| Sinkholes or cracks are visible in the embankment. | □Yes □No □N/A |  | □Yes □No |
| Trees or woody vegetation present on the dam or embankment. | □Yes □No □N/A |  | □Yes □No |
| 4. BASIN OR BOWL AREA |  |  |  |
| Trash and debris have accumulated. | □Yes □No □N/A |  | □Yes □No |
| Invasive plants are present. | □Yes □No □N/A |  | □Yes □No |
| Erosion is evident on the basin floor or low flow channel. | □Yes □No □N/A |  | □Yes □No |
| The micro-pool has sediment accumulation. | □Yes □No □N/A |  | □Yes □No |
| Sinkholes or animal borrows are present. | □Yes □No □N/A |  | □Yes □No |
| 5. SIDE SLOPES AND EMBANKMENT |  |  |  |
| Erosion is evident. | □Yes □No □N/A |  | □Yes □No |
| Sinkholes, animal borrows or instability are present. | □Yes □No □N/A |  | □Yes □No |
| 6. OUTLETS AND OVERFLOW STRUCTURE |  |  |  |
| Outlets or overflow structures in poor structural condition. | □Yes □No □N/A |  | □Yes □No |
| Sediment, trash or debris is blocking the outlets or overflow structure. | □Yes □No □N/A |  | □Yes □No |
| Erosion is occurring around the outlets or overflow structure. | □Yes □No □N/A |  | □Yes □No |
| Joints are not water tight and/or leaks are visible. | □Yes □No □N/A |  | □Yes □No |

Additional Notes

Wet weather inspection needed □ Yes □ No

Site Sketch: