Underground Detention System Inspection and Maintenance Checklist

| Facility: |  |  |  |  |
| --- | --- | --- | --- | --- |
| Location/Address: |  |  |  |  |
| Date: | Time: | Weather Conditions: |  | Date of Last Inspection: |
| Inspector: |  |  | Title: |  |
| Rain in Last 48 Hours □ Yes □ No If yes, list amount and timing: |  |  |  |  |
| Pretreatment: □ vegetated filter strip □ swale □ turf grass □ forebay □ other, specify: □ none |  |  |  |  |
| Site Plan or As-Built Plan Available: □ Yes □ No |  |  |  |  |

*Do not enter underground detention chambers to inspect system unless Occupational Safety & Health Administration (OSHA) regulations for confined space entry are followed.

*Follow inspection and maintenance instructions and schedules provided by system manufacturer and installer.

* Properly dispose of all wastes.

| Inspection Item |  | Comment | Action Needed |
| --- | --- | --- | --- |
| 1. PRETREATMENT |  |  |  |
| Sediment has accumulated. | □Yes □No □N/A |  | □Yes □No |
| Trash and debris have accumulated. | □Yes □No □N/A |  | □Yes □No |
| 2. INLETS |  |  |  |
| Inlets are in poor structural condition. | □Yes □No □N/A |  | □Yes □No |
| Sediment, trash, or debris have accumulated and/or is blocking the inlets. | □Yes □No □N/A |  | □Yes □No |
| 3. CHAMBERS |  |  |  |
| Sediment accumulation threshold has been reached. | □Yes □No □N/A |  | □Yes □No |
| Trash and debris have accumulated in chambers. | □Yes □No □N/A |  | □Yes □No |
| 4. OTHER SYSTEM COMPONENTS |  |  |  |
| Structural deterioration is evident. | □Yes □No □N/A |  | □Yes □No |
| 5. OUTLETS |  |  |  |
| Outlets in poor structural condition. | □Yes □No □N/A |  | □Yes □No |
| Sediment, trash or debris are blocking outlets. | □Yes □No □N/A |  | □Yes □No |
| Erosion is occurring around outlets. | □Yes □No □N/A |  | □Yes □No |
| 6. OTHER |  |  |  |
| Evidence of ponding water on area draining to system. | □Yes □No □N/A |  | □Yes □No |
| Evidence that water is not being conveyed through the system. | □Yes □No □N/A |  | □Yes □No |
| Additional Notes |  |  |  |
| Wet weather inspection needed □ Yes □ No |  |  |  |

Site Sketch: